# Area(s) Inspected: RM# __________   Date of Inspection: ____________   Inspected by:  _____________________________

Instructions:

- Complete inspection on a regular basis.  Edit this checklist to suit your specific location.

- Inspect each item on the checklist and mark as satisfactory () or unsatisfactory (().

- For unsatisfactory items, describe the deficiency and location in the space provided, and complete the details on the Hazard Record (page 2).

- Take all necessary actions or make necessary recommendations to correct/control the deficiencies.

- Forward copies to the local Safety Committee and/or management.

|  | Item | or ( | Deficiency and Location |
| --- | --- | --- | --- |
| 1 | Laboratory dress: Appropriate PPE being used (lab coats, safety eyewear, etc.). No shorts, skirts or sandals. |  |  |
| 2 | Food/Drink: Not present in lab. |  |  |
| 3 | Housekeeping: Area is clean and tidy. Aisles and doorways free of slip/trip/fall hazards. Adequate ventilation, lighting and temperature. |  |  |
| 4 | First Aid and Emergency Procedures: Help yourself kit adequately stocked, logbook present, current information clearly posted, workers are aware of procedures. |  |  |
| 5 | Fire Extinguishers: Accessible, signage present, in good condition, charged and inspected within last year. |  |  |
| 6 | Emergency Eyewash and Showers: Accessible and labelled. Tested regularly. Eyewash stations tested monthly and test date recorded. Showers tested annually. |  |  |
| 7 | Equipment: In good condition. Handled and stored appropriately. No electrical hazards present. |  |  |
| 8 | Gas Cylinders: Properly secured in upright position. Valves closed when not in use. Located away from exits and sources of heat and moisture. |  |  |
| 9 | Chem Fume Hoods and Bio Safety Cabinets (BSC): Kept tidy, functioning, annually certified, fume hood sash at/below arrow. |  |  |
| 10 | Chemicals: Proper supplier/workplace label on all containers, MSDS readily available, incompatibles separated, proper storage. (Chemical Inventory: Up to date and posted on the lab door.) |  |  |
| 11 | Spill Kit: Accessible, signage present, in working order. |  |  |
| 12 | Flammables: Less than 25 L in the open lab. Containers no larger than 5 L. Signage. |  |  |
| 13 | Chemical/Other Waste: Old chemical and other waste disposed of properly. |  |  |
| 14 | Radiation and Biohazards: Warning labels posted outside door. Radiation licence(s) posted. Appropriate storage and signage. |  |  |
| 15 | Seismic issues: Shelving secured, restraints present on shelves. Heavy items stored low. |  |  |
| 16 | Lab Emergency Contacts: Specify on this worksheet and post on lab door two emergency contacts and their contact information for the lab – primary and secondary. |  |  |

### HAZARD RECORD

| Item # | Corrective Action(s) | Responsible Person(s) | Date for Completion | Follow-up |
| --- | --- | --- | --- | --- |